Measurement of greenhouse gases from novel ground-based remote sensing instrumentations during the FRM4GHG campaign at the Sodankylä TCCON site

Mahesh Kumar Sha (1), Martine De Mazière (1), Justus Notholt (2), Huilin Chen (3), David Griffith (4), Nicholas Jones (4), Frank Hase (5), Thomas Blumenstock (5), Rigel Kivi (6), Damien Weidmann (7)

(1) Royal Belgian Institute for Space Aeronomy, Brussels, Belgium
(2) University of Bremen, Bremen, Germany
(3) University of Groningen, Groningen, Netherlands
(4) University of Wollongong, Wollongong, Australia
(5) Karlsruhe Institute of Technology, Karlsruhe, Germany
(6) Finnish Meteorological Institute, Sodankylä, Finland
(7) Rutherford Appleton Laboratory, United Kingdom

Ground-based infrared remote sensing greenhouse gas (GHG) observations are extensively used for the validation of GHG measurements from satellites like SCIAMACHY, GOSAT and OCO-2, as well as for model studies. The current standard network providing reference ground-based total column GHG data for satellite and model validation is the Total Carbon Column Observing Network (TCCON). TCCON is a network of about 23 stations distributed globally and measuring precise and accurate (scaled to WMO standards) total column abundances of GHGs using a Fourier-transform infrared solar absorption spectrometer of the type Bruker IFS 125HR. However, TCCON has shown some deficiencies in terms of the gaps in the coverage, especially in remote locations, locations with high/low albedo. Furthermore, setting up a TCCON station is very expensive, requires special operational conditions with trained personnel for operation and maintenance, and it is not easy to move the station to a new location. This makes it very costly if further expansion of the network is desired. Presently, several new portable, low cost, easy to operate and maintain spectrometers have been developed that have the potential to eliminate those deficiencies and complement the TCCON network. However, the performances of these instruments have not been fully characterized. The ongoing ESA funded campaign “Fiducial Reference Measurements for Ground-Based Infrared Greenhouse Gas Observations (FRM4GHG)” at the Sodankylä TCCON site aims at characterizing several of these low cost portable spectrometers performing TCCON type measurements simultaneously under different atmospheric conditions in comparison with a TCCON instrument. In addition, regular AirCore launches will also be performed from that site and will provide in-situ reference profiles of the target gases, which will be useful to verify the instruments calibration. The FRM4GHG campaign organized between March – October 2017 will provide significant dataset of CO2, CH4 and CO measurements which can be used for validation purpose during the S5P commissioning phase, as well as by other satellites and models validation teams. Furthermore, it will also provide a comparative characterization of the participating instruments with respect to the standard TCCON in terms of the precision, accuracy, stability, portability and ease of deployment, cost factor, etc. The outcome of the campaign will then be a guideline for the further development of new observation sites to complement the TCCON network and better support for the validation of the existing and future satellite missions and models. This talk will focus on the objectives of the campaign and the first results of the measurements performed since the start of the campaign in March 2017.